## Slide 1: Brain Imaging with MRI
MRI of Neuronal Network Structure, Function, and Plasticity
Henning U. Voss, Nicholas D. Schiff
Progress in Brain Research, Vol. 175 2009
Weill Cornell Medical College

## Slide 2: Overview
Styles of MRI
  Diffusion Tensor Imaging
  Resting state fMRI
Resolution
  Spatial – 5mm to 1mm
  Temporal – 1s
MRI impact on trauma analysis
  Shifts in resting state networks

## Slide 3: Two Main Approaches
Diffusion Tensor Imaging (DTI)
Thermal diffusion of water protons
Effective in targeting white matter networks
Can determine direction, specific to location
Fractional Ansiotrophy (FA), directional dependence of diffussion
Resting State fMRI
Reliant on BOLD
  Blood Oxygen Level Dependent
Reliant on algorithms to resolve blood flow into a cohesive pattern
Broad results confined to areas of interest

## Slide 4: DTI and Brain Injury
Traditional MRI does not revel white matter fiber
Fiber Tracking methods of DTI have been shown to be equal or exceed accuracy of anatomical atlases
DTI is sensitive to degree of myelination and axonal density, due to water based imaging
  Very useful for detecting axonal reorganization and regrowth
  Cases studies against coma patients and controls and controls against those with traumatic brain injuries to highlight unique imaging responses

## Slide 6: fMRI – known resting state network modes
RSN 1 : default network mode - posterior cingulate and precuneus, medial prefrontal cortex, dorsal lateral perforntal cortex, inferior parietal cortex
RSN 2 : dorsal attention network - intraparietal sulci, areas at the intersection of precentral and superior frontal sulcus, central precentral, middle frontal gyrus
RSN 3 : visual processing network - retinoptic occipital cortex, temporal-occipital regions
RSN 4 : auditory-phonological network - superior temporal cortices
RSN 5 : sensory-motor network - precentral/postcentral/medial frontal gyri, primary sensory-motor cortices, supplementary motor area
RSN 6 : self-referential network - medial-ventral prefrontal cortex, pregenual anterior cingulate, hypothalamus, cerebellum

## Slide 8: Disease detection via fMRI
Known to present in those with the following conditions:
  Alzheimer’s Disease, aging brains, blindness, schizophrenia, ADHD, epilepsy
Most studies conclude with the networks overlapping in the thalamic structures
  Hopeful of a quick way to give a brain assessment via the state of this one region
Able to distinguish between control, minimally conscious states and vegetative states