## Slide 1: Verify that a 10-20 is a subset of a 10-10 EEG

## Slide 2: 10-20 system positioning
Measure over the center line of the scalp, from the Nasion (bridge of the nose) to the Inion (occipital pretu-berance). Note the total length.
36 cm

## Slide 3: 10-20 system positioning
Measure and mark 50% of your total. This is your preliminary Cz mark.
36/2=18cm

## Slide 4: 10-20 system positioning
Measure and mark 10% up from the Nasion and 10% up from the Inion.
These are your preliminary mark of Fpz and Oz.
In our example 10% of 36 cm is 3.6 cm

## Slide 5: 10-20 system positioning
Mark 20% from either the first mark of Fpz or Cz. These will be your preliminary marks of Fz and Pz.
In our example 20% of 36 cm is 7.2 cm

## Slide 6: 10-20 system positioning
Measure from preauricular point to preauricular- point. Lightly run your finger up and down just anterior to the ear; the indentation above the zygo- matic notch is easily identified. Opening the mouth slightly makes it easier to find the exact location.
Note the total length.
34 cm

## Slide 7: 10-20 system positioning
Measure and mark 50% of your total.
In our example: 34/2=17 cm
At the intersection with your previous 50% mark from the Nasion to the Inion is your true Cz mark.

## Slide 8: 10-20 system positioning
Measure and mark 10% up from the pre auricular points. These are your preliminary marks of T3 and T4.
In our example 10% of 34 cm is 3.4 cm

## Slide 9: 10-20 system positioning
Measure from your first mark of T3 to Cz. Note the total length.
Measure from your first mark of T4 to Cz. Note the total length.
E.g. : 14 cm

## Slide 10: 10-20 system positioning
Measure and mark 50% of the totals in the previous step. These are your preliminary marks of C3 and C4.
f12/2 =7 cm
Or
In our example 20% of 34 cm is 6.8 cm.

## Slide 11: 10-20 system positioning
Draw a cross section mark on Fpz. This is your true Fpz mark.
.

## Slide 12: 10-20 system positioning
Find circumference of head from Oz Through T 3 and T4 and Fpz.
For our example 56 cm.
Measure 50% of the total circumference from Fpz to the back of the head. At the cross section with your preliminary Oz mark is your true Oz mark.
In our example 20% of 54 cm is 27 cm.

## Slide 13: 10-20 system positioning
Measure and mark 5% of total circumference to the left and right of Oz. These will be your true marks of O1 and O2.
In our example 5% of 56 cm = 2.8 cm

## Slide 14: 10-20 system positioning
Measure and mark 5% of total circumference to the left and right of Fpz. These will be your true Fp1 and Fp2 marks.
In our example 5% of 56 cm = 2.8 cm

## Slide 15: 10-20 system positioning
Measure and mark 10% down from Fp1 and Fp2. These are your marks for F7 and F8.
In our example 10% of 56 cm = 5.6 cm

## Slide 16: 10-20 system positioning
Measure from F7 to F8 and note your distance.
For our example 32 cm

## Slide 17: 10-20 system positioning
Measure and mark half of the distance between F7 and F8. At the intersection with your preliminary Fz mark is the true mark for Fz.
In our example 32/ 2 = 16 cm

## Slide 18: 10-20 system positioning
Measure and mark half of the distance between F7- Fz and F8-Fz. These are your preliminary marks for F3 and F4.
In our example 16 cm / 2 = 8 cm

## Slide 19: 10-20 system positioning
Measure and mark 20% of the Nasion-Inion distance from FP1 to F3. At the intersection will be your true F3 mark.
Measure and mark 20% of the Nasion-Inion distance from FP2 to F4. At the intersection will be your true F4 mark.
In our example 20% of 36 cm = 7 cm

## Slide 20: 10-20 system positioning
Measure from Fp1 to O1, to obtain your preliminary mark of C3.
Measure from Fp2 to O2 to obtain your preliminary mark of C3.
For our example 28 cm

## Slide 21: 10-20 system positioning
Measure and mark half of the distance Fp1-O1. Where your first and second marks intersect will be your true C3.
Measure and mark half of the distance Fp2-O2. Where your first and second marks intersect will be your true C4.
In our example 28 cm / 2 = 14 cm

## Slide 22: 10-20 system positioning
21 electrode
Increasing need for higher density electrode setting. Therefore 10-10 system was introduced.

## Slide 23: 10-10 system positioning
75 electrodes
Divided from Nz to Iz LPA to RPA, in 10% increments.

## Slide 24: Conclusion
10-20 system positioning is subset of 10-10 system positioning.

## Slide 25: References
[1] A. M. Husain, Practical Epilepsy: Springer Publishing Company, 2015.( page:92-93)
[2] V. Jurcak, D. Tsuzuki, and I. Dan, "10/20, 10/10, and 10/5 systems revisited: their validity as relative head-surface-based positioning systems," Neuroimage, vol. 34, pp. 1600-1611, 2007.